# Mammoth Lakes Workforce Housing Amenity and Design Standards

These Housing Amenity and Design Standards shall apply to all workforce units developed pursuant to the requirements of the Municipal Code. The intent of these standards is to ensure that developers of workforce units build or renovate units that meet minimum standards of design and amenities necessary for households living and working in Mammoth Lakes, to the extent feasible.

## Amenities and Design

- Each kitchen in a workforce unit shall provide, at a minimum, a range (cooktop and oven) and refrigerator.  If provided in market-rate units in the new development, a dishwasher and garbage disposal shall also be provided in the workforce unit.

- All units shall have provisions for laundry, either in-unit or via access to a shared laundry facility. If washers/dryers are provided for market-rate units in the new development, then washers/dryers shall be provided in the workforce units.

- Appliances and fixtures, including  those  listed  above,  water  heaters, furnaces, toilets, sinks etc. shall be Energy Star or WaterSense (or similar equivalent standard) rated, as applicable.

- Materials and appliances shall have a minimum one year warranty.

- Adequate cabinets and storage space shall be provided for kitchen, linens, bathrooms, and outdoor equipment (e.g., bicycles and skis). Storage space shall be located and designed to serve its intended purpose. A minimum of 100 cubic feet of lockable storage shall be provided per unit for multi-family residential projects.

- Sound insulation shall be provided within both the interior and exterior walls, sufficient to meet the requirements of Section 8.16.080 (Interior Noise Standards) of the Municipal Code.

- A dining area shall be provided, which may be a separate room, part of a combined living/dining area, or within the kitchen.

- Bedrooms shall accommodate a minimum of two persons and have at least 100 square feet of habitable space in addition to adequate closet space.

- An adequate number of bathrooms, based on number of bedrooms, shall be provided.  Studio and one-bedroom units shall have one full bathroom. Two-bedroom units shall have the same number of bathrooms in proportion to bedrooms, on average, as market-rate units in the new development. Three and four bedroom units shall have at least two full bathrooms.

- The external appearance, finishing materials, and quality of construction of the workforce units, and any landscaping, private yards or open space that is part of the workforce unit property shall be substantially similar in appearance and durability to the market-rate units in the project.

- Project amenities generally available to residents of the market -rate units in the project and parking (except as specified in Chapter 17.140 of the Municipal Code) shall be available on the same basis to the workforce units as to the market-rate units.

- Convenient access to common or private outdoor space that is provided in conformance with Section 17.52.210.C or Section 17.52.210.H of the Municipal Code (Common Recreation Area or Private Outdoor Open Space) shall be provided from each unit.

- Workforce units should maximize living space (e.g., by reducing space devoted to hallways or stairways) and have direct access to natural light in every living area, similar to market-rate units.

## Request for Waiver or Modification of Amenity and Design Standards

Requests for waivers or modification of these standards shall be reviewed on a case-by-case basis, depending on site- and/or project-specific conditions, such as undue financial hardship, undesirable environmental effects, or design compatibility issues, and shall meet the requirements of Section 17.136.120.E of the Municipal Code and the following:

- Measurable standards may be reduced by up to 10% with respect to minimum room size.

- Other measurable standards may be reduced by up to 20%, including:

  - Minimum storage space, and

  - Amount of common or private open space per workforce unit compared to market-rate units (per Municipal Code Section 17.52.210 C or H).

- Requests for waivers or modifications shall be reviewed considering the targeted income level that the workforce unit would serve to ensure the unit is adequate and appropriate.

In any request for waivers or modifications, an applicant shall demonstrate a financial hardship or other sufficient documentation to support the request and how the overall objectives of these standards will be achieved, notwithstanding the reductions, particularly for the needs of family households with children. An applicant shall provide adequate documentation to demonstrate this hardship (e.g., standard pro forma statement) and/or site- and/or project-specific conditions. Consistent with Municipal Code Section 17.136.120.E, agreement to any waiver or modification shall be made at the sole discretion of the Review Authority.